# How to Check Continuity with a Multimeter

This standard operating procedure explains how to check continuity with a multimeter, from preparing the device to verifying the results on real components such as a car fuse. Follow each step in order to confirm your multimeter is functioning correctly before you test any wire, fuse, or component.

# Purpose

The purpose of this procedure is to provide a reliable, repeatable method for testing continuity with a digital multimeter. It covers setting up the device, verifying the continuity function, and applying the test to real-world components.

# Scope

This procedure applies to anyone who needs to check continuity with a multimeter, including testing fuses, wires, and other electrical components. It does not cover testing live or powered circuits.

# Required equipment

A digital multimeter with red and black test leads

The component, wire, or fuse you want to test

A stable, clean surface to work on

# Procedure

## 1. Prepare the multimeter

Place the multimeter on a stable surface. Confirm that both test leads are securely connected to the correct ports: the red lead in the port labeled VΩmA and the black lead in the port labeled COM. Power on the multimeter before proceeding.

A digital Mastercraft multimeter rests on the ground with the red and black test leads connected, ready for use.

## 2. Set the multimeter to continuity mode

Turn the central dial to the continuity setting, typically marked with the ohms (Ω) symbol. On this model, the setting sits in the green section of the dial. Rotate the dial until the pointer aligns with the Ω symbol.

A hand turns the dial of the multimeter to the ohms (Ω) setting to prepare it for continuity testing.

## 3. Organize the test leads

Arrange the test leads so they are untangled and easy to handle, and confirm they remain fully inserted into their respective ports.

A close-up view of hands organizing the test leads while confirming the dial is set to the ohms (Ω) position.

## 4. Verify the multimeter shows no continuity

Hold the two test lead tips apart and check the display. It should show a high resistance reading or "1", confirming there is no continuity when the leads are not touching.

The multimeter display reads "1", showing no continuity while the test leads are held apart.

## 5. Touch the test leads together

Briefly touch the metal tips of the red and black test leads together and observe the display. A reading of "0", or a value very close to zero (such as 0.5 or 0.6), confirms good contact and continuity. A slightly non-zero reading may indicate a low battery or dirty terminals, but it still confirms continuity.

Both test leads are touched together, and the display shows "0.6", confirming continuity.

## 6. Interpret the self-test results

If the display shows "0" or a value close to zero, the multimeter is working correctly for continuity testing. If the display stays at "1" or a high value, check the battery and clean the test lead tips before continuing.

## 7. Position the leads on your target component

Take the component or wire you want to test. Hold one test lead at one end of the component and the other test lead at the opposite end.

Hands hold the red and black test leads, positioned to test a component for continuity.

## 8. Test a car fuse for continuity

Hold the car fuse securely in one hand. Touch one test lead to one end of the fuse and the other test lead to the opposite end. A reading of "0" or close to it (such as 0.5 or 0.6) confirms the fuse has continuity. If the display stays at "1" or a high value, the fuse does not have continuity and may be faulty.

Hands hold a car fuse while touching each terminal with the red and black test leads; the display shows "1", indicating no continuity at this moment.

## 9. Interpret the continuity test results

A reading close to zero (e.g., 0.6 or 0.5) means the fuse is good and has continuity. A reading that stays at "1" means the fuse is blown or the circuit is open.

## 10. Apply the same method to other components

Use this method to check continuity on a wide range of wires, fuses, and other objects. Always confirm both test leads are making solid contact with the component being tested.

Hands hold the test leads, ready to test another component with the multimeter set up for further continuity checks.

## 11. Follow safety precautions

Only test components that are safe and disconnected from any live circuit. Avoid testing high-voltage or powered circuits, as this can damage the multimeter or cause personal injury.

Hands hold the test leads away from the multimeter as a reminder to work with caution; the display shows "1".

## 12. Conclude the test

Once testing is complete, turn off the multimeter, disconnect the test leads, and store the multimeter and its accessories safely.

Hands disconnect the test leads from the multimeter to prepare it for storage; the display shows "1".

# Verification and summary

By following this procedure, you can reliably check continuity with a multimeter on fuses, wires, and other components. Confirm the self-test in Steps 4–6 before testing any component, and always ensure the test leads are clean and the multimeter is set to the correct mode for accurate results.

# What's next

Apply this same continuity-checking procedure whenever you need to verify whether a fuse, wire, or component is intact. Always prioritize safety by testing only components that are disconnected from live circuits.