# How to Clean a Grease Trap

Cleaning out a grease trap can be quick and easy if you follow the correct steps. This SOP walks you through how to clean a grease trap efficiently, from initial preparation through final reassembly, so the system is thoroughly cleaned and ready for continued use.

Diagram of a grease trap showing yellow FOG congealed on the surface of the water

# Purpose

This procedure describes the steps needed to properly clean a grease trap, preventing blockages, controlling odors, and keeping the system operating correctly.

ImperialDade logo with text: "Hit the Like and Subscribe Button! To learn more, visit ImperialDade.com"

# Scope

This procedure applies to any staff member responsible for cleaning and maintaining a foodservice grease trap.

Presenter explaining reassembly, wearing blue ImperialDade shirt, standing in front of branded backdrop

# Required equipment and PPE

Before you begin, gather the following tools and equipment:

Wet dry vac

Scooper ladle

Steel pot scrubber or scraper

Crowbar or wrench (depending on the type of grease trap lid)

You also need the following personal protective equipment (PPE):

Rubber gloves, to protect your skin from chemicals and bacteria

Face mask, to protect against harmful bacteria and odors

Protective coveralls, to protect your clothing

Nose plug (optional, but highly recommended due to foul odors)

Three types of wet dry vacuums lined up for grease trap cleaning

# Safety notes

Do not clean the grease trap during business hours. Cleaning at this time can spread foul odors throughout the facility.

Turn off all dishwashers connected to the grease trap and confirm the sink is not in use during cleaning, so the trap does not refill while you are working.

Diagram of a grease trap showing cool water being pumped in, with water flow and internal baffles visible

# Procedure

## Step 1: Pump cool water into the system

Once you are equipped with your PPE, pump cool water into the grease trap system and let it sit for about 10 minutes. Cool water helps congeal any remaining fats, oils, and grease (FOG).

Presenter explaining PPE requirements, wearing a blue ImperialDade shirt, standing in front of a branded backdrop

## Step 2: Allow the FOG to congeal

Wait for the fats, oils, and grease to congeal on the surface of the water before proceeding.

## Step 3: Remove the grease trap lid

Carefully remove the grease trap's lid. Use a crowbar or wrench if the lid is metal. If the lid is plastic, it should snap off easily.

Presenter emphasizing not to clean during business hours, with a subscribe button overlay

## Step 4: Scoop out the FOG layer

With the inside of the grease trap exposed, use a ladle to scoop up the thick layer of FOG floating on top of the water. Store the scooped FOG in an airtight container until you can dispose of it in the trash.

Title screen with "ImperialDade HOW TO PROPERLY CLEAN A GREASE TRAP" logo

## Step 5: Remove water and solid debris

Use the wet dry vac to remove all remaining water and solid debris from the grease trap. Make sure the tank is fully drained before continuing.

## Step 6: Prevent the trap from refilling during cleaning

Keep dishwashers connected to the grease trap turned off and confirm the sink stays out of use throughout the cleaning process. This prevents water from refilling the trap while you work.

Presenter explaining the number and function of baffles, wearing blue ImperialDade shirt, standing in front of branded backdrop

## Step 7: Clean the tank walls, lid, and baffles

After draining, inspect the tank walls, lid, and baffles for remaining residue. Mix dish soap with warm water to prepare a cleaning solution, then use a steel pot scrubber or scraper to scrub away residue from the baffles, lid, and tank walls.

Presenter explaining cleaning of tank walls, lid, and baffles, wearing blue ImperialDade shirt, standing in front of branded backdrop

Baffles are devices inside the grease trap designed to prevent fats, oils, and grease from leaving the trap and causing blockages. Small to average size grease traps usually have at least three baffles; larger traps may have more.

Diagram of a grease trap with three internal baffles and visible water level, showing the internal structure and flow path

## Step 8: Apply the cleaning solution

Apply your dish soap and warm water solution to all internal surfaces of the grease trap before flushing.

Presenter describing the cleaning solution, wearing blue ImperialDade shirt, standing in front of branded backdrop

## Step 9: Flush out soap and debris

Pour a gallon of warm or room-temperature water down the sink drain to flush any remaining soap and debris through the grease trap. Observe the water flow:

If the water flows easily, the system is clear.

If the water does not flow, there may be a blockage. Contact a licensed plumber.

## Step 10: Reassemble the grease trap

Replace all baffles in their original positions and securely cover the tank with its lid.

# Verification and summary

Once reassembled, the grease trap should be fully drained of old FOG and debris, with clean tank walls, lid, and baffles, and water flowing freely through the system. Confirm the lid is securely in place before returning the sink and any connected dishwashers to normal use.

Presenter explaining the flushing process, wearing blue ImperialDade shirt, standing in front of branded backdrop

# What's next

If you have questions about cleaning or maintaining a grease trap, or need equipment and products, contact an Imperial Dade representative. For more information, visit ImperialDade.com.

Presenter explaining lid removal, wearing blue ImperialDade shirt, standing in front of branded backdrop

Presenter explaining how to scoop out FOG, wearing blue ImperialDade shirt, standing in front of branded backdrop

Presenter offering further assistance, wearing blue ImperialDade shirt, standing in front of branded backdrop