# How to apply a condom catheter: patient care procedure

This procedure explains how to apply a condom catheter to a male resident, from initial preparation through securing the device, connecting the drainage system, and end-of-shift care. It is intended for nursing and allied health staff providing external urinary management as an alternative to an indwelling (Foley) catheter.

Nurse holding the rolled condom catheter, ready to apply it to the mannequin patient

Instructor standing beside mannequin patient, whiteboard with class welcome and instructor info, supplies on table

# Purpose & scope

This procedure describes how to apply a condom catheter safely and comfortably to a male resident under a physician's order. It covers both ambulatory patients, who use a leg bag, and non-ambulatory patients, who use a standard collection bag with a longer tube.

The procedure applies in any care setting where a resident requires external urinary drainage as a non-invasive alternative to an indwelling catheter, such as a long-term care unit or bedside nursing care.

Nurse pointing to the mannequin patient, emphasizing final care steps and privacy, with the whiteboard and supplies visible

Patient population: Male residents with a physician's order for external urinary catheterization

Care setting: Bedside nursing care (long-term care or similar resident care environment)

Clinical rationale: Non-invasive alternative to indwelling catheters with reduced risk of urinary tract infection and increased patient comfort

Nurse demonstrating hand hygiene and discussing cleanup and safety reminders, with the mannequin patient in bed

# Patient assessment

Before applying the catheter, complete the following checks to confirm the correct order, equipment, and patient readiness.

| Assessment item | What to check |
| --- | --- |
| Physician's order | Confirm a physician's order is in place for condom catheter application |
| Patient understanding | Explain the procedure to the resident and confirm cooperation |
| Mobility status | Determine whether the resident is ambulatory or non-ambulatory to select the correct drainage bag |
| Skin condition | Check that the penile skin is intact and free of irritation; shave the area if not already shaved to promote adhesion |
| Sizing | Select the correct external catheter size for the patient |

Mannequin patient with the genital area cleaned and dried, ready for catheter application

For ambulatory patients, use a leg bag with a strap. For non-ambulatory patients, use a standard collection bag with a longer tube and a curved hook area for attaching to the bed.

The source procedure does not specify a vital sign monitoring frequency, a formal pain assessment tool, or neurovascular checks; these should follow your facility's standard nursing assessment protocol if required.

# Care protocol

## Phase 1: Preparation

Confirm the physician's order for condom catheter application.

Explain the procedure to the resident to ensure understanding and cooperation.

Gather all necessary equipment:

Condom catheter(s) in appropriate sizes

Urine drainage bag (leg bag or standard collection bag)

Leg strap (if using a leg bag)

Gloves (non-sterile or sterile as per protocol)

Cleansing wipes or materials

Close the curtain or door to ensure privacy.

Perform hand hygiene.

Apply clean gloves.

Lay out all supplies on a clean surface near the patient and identify each item before beginning.

Nurse explaining the procedure and showing the condom catheter, with a mannequin patient in a hospital bed and a whiteboard in the background reading "Welcome to Class, Instructor Eunice Mathis, www.FLtraining.com"

## Phase 2: Skin preparation and application

Drape the patient to expose only the genital area, maintaining privacy as much as possible.

Cleanse the penis using a cleansing wipe, using circular motions starting at the tip and moving outward. Shave the area if needed to support adhesion.

Dispose of used cleansing wipes and any shaving materials in the trash.

Pat the area dry with a clean cloth or gauze, ensuring the skin is completely dry, then dispose of the cloth.

If your facility provides a measuring device, use it to confirm the correct catheter size.

Open the condom catheter package, which contains the catheter and an adhesive strip or securing tape.

Note that some condom catheters are basic and widely available, while more expensive versions include additional adhesive for longer wear.

Remove the condom catheter from its packaging and hold it in preparation for application.

Roll the condom catheter onto the penis, starting at the tip and unrolling it down the shaft. Ensure the fit is snug but not constricting, then gently press around the catheter to ensure good contact with any adhesive.

Nurse holding two different sizes of condom catheters in their packaging, selecting the appropriate size for the patient

Nurse with gloved hands preparing the patient, with supplies visible on the table and the mannequin draped to expose only the genital area

Close-up of the nurse cleansing the penis of the mannequin with a wipe while wearing gloves

Nurse holding an unopened condom catheter package with supplies visible on the table and the mannequin ready

Nurse displaying the condom catheter and adhesive strip inside the opened package

Nurse holding the condom catheter and adhesive strip, explaining differences between product options

Nurse applying the condom catheter to the mannequin, rolling it down the shaft with gloved hands

## Phase 3: Securing the catheter and connecting drainage

Press gently around the condom catheter to activate the adhesive and ensure full contact with the skin.

Peel the backing from the adhesive securing tape and prepare to wrap it around the base of the catheter. The tape should be snug enough to prevent the catheter from rolling off, but not so tight that it causes erosion or pain.

Wrap the tape gently around the base of the catheter and confirm it is not too tight.

Check the patient for any discomfort or pain, and confirm the catheter is secure without causing skin irritation.

Locate the clamp on the drainage tubing and ensure it is open so urine can flow freely.

Remove any protective cover from the end of the drainage tubing.

Connect the external catheter to the drainage bag tubing, ensuring a secure connection to prevent leaks.

Position the drainage bag off to the side of the bed using the provided hook or attachment point, keeping the tubing straight and free of kinks.

Inspect the full length of the tubing to confirm there are no twists or kinks, adjusting as needed.

Complete a final check to confirm the patient is comfortable, the catheter is secure, and the drainage bag is properly positioned. Empty the drainage bag whenever it is at least halfway full.

Nurse disposing of used cleansing materials, close-up of gloved hands and the mannequin

Nurse with gloved hands pressing around the base of the condom catheter on the mannequin to ensure adhesive contact, with the patient draped and supplies visible

Nurse holding the adhesive securing tape, preparing to apply it to the condom catheter

Nurse checking the catheter placement and patient comfort, hands near the catheter site on the mannequin

Nurse holding the drainage tubing and removing the protective cover, preparing to connect it to the catheter

Nurse connecting the drainage tubing to the external catheter, positioning it toward the side of the bed

Nurse positioning the drainage bag and tubing off the side of the bed, ensuring straight alignment

Nurse inspecting and adjusting the tubing to ensure it is straight and unobstructed

Nurse with gloved hands performing a final check near the patient, with the drainage system in place

## Phase 4: End-of-shift care

At the end of your shift, put on gloves and gather supplies at the bedside to prepare for catheter care.

Hold the drainage bag and tubing securely, ensuring the tubing is not kinked or pulling on the patient.

Lower the drainage bag and tubing to the appropriate position, confirming all connections are secure and the patient is comfortable.

Wash your hands thoroughly after completing the procedure, clean up all used supplies, and dispose of waste properly.

If the bed rail was lowered, raise it back up for patient safety, and close or open the privacy curtain as needed.

Carefully remove gloves and dispose of them in the appropriate waste container, then perform a final check that the patient is safe and comfortable and the environment is clean.

Adjust the bed and privacy curtain as needed, ensure equipment is properly stored, and provide any final instructions to the patient.

Nurse holding up a standard urine collection bag with a curved hook area, demonstrating its use for non-ambulatory patients

Nurse in gloves preparing catheter supplies at the bedside, with the mannequin patient, catheter, and supplies visible

Nurse holding catheter drainage bag and tubing, demonstrating proper handling and positioning at the bedside

Nurse removing gloves, emphasizing hand hygiene and final safety checks, with supplies visible on the table

# Pain management

The source procedure does not include a medication regimen for pain management. It instructs staff to apply the securing tape snugly but not tightly, to avoid causing erosion or pain, and to check the patient for discomfort or pain after the tape is applied and again during the final check. Facilities should document any pain findings using their standard pain assessment tool and escalate to the physician if irritation, pain, or improper fit is identified.

Nurse standing by the bed, checking that the drainage tubing clamp is open, with the catheter in place on the mannequin

# Mobility milestones

The procedure does not describe a progressive mobility timeline. It does, however, distinguish equipment selection based on the resident's mobility status:

| Patient mobility status | Equipment used |
| --- | --- |
| Ambulatory | Leg bag with a securing strap |
| Non-ambulatory | Standard collection bag with a longer tube and curved hook for attaching to the bed |

If your facility uses a leg strap or device to secure the catheter tubing for ambulatory residents, apply it as directed.

# Complication monitoring

Monitor for the following signs and escalate as needed:

Discomfort or pain at the catheter or tape site

Skin irritation or erosion caused by tape that is too tight

Improper catheter fit (too loose, causing the catheter to roll off, or too tight, causing constriction)

Twisted or kinked tubing that could obstruct urine flow

Drainage bag reaching at least halfway full, which requires emptying to prevent overflow and maintain hygiene

Nurse holding the securing tape, demonstrating proper tension before wrapping it around the catheter

Condom catheters are used to help prevent skin breakdown and keep the patient dry and comfortable; always monitor for signs of irritation or improper fit and notify the appropriate care team member if issues are found.

# Discharge criteria

The source procedure does not define discharge criteria, as it addresses catheter application and end-of-shift care rather than discharge planning. Any discharge criteria related to catheter use should be determined by the physician's order and facility policy.

Nurse lowering the catheter tubing and drainage bag, ensuring proper placement and patient comfort

# Patient education

Before or during the procedure, explain the following to the resident:

The condom catheter is a latex covering that fits over the penis and allows urine to drain into a collection bag.

It is a non-invasive alternative to indwelling (Foley) catheters.

It carries a reduced risk of urinary tract infection compared with Foley catheters.

It increases patient comfort compared with indwelling catheter options.

Mobile patients use a leg bag secured with a strap, while non-ambulatory patients use a standard collection bag hooked to the side of the bed.

Nurse with gloved hands displaying all supplies on a table next to a mannequin patient, including drainage bags, catheters, and cleansing wipes

For additional training resources, staff can visit www.FLtraining.com and www.NurseEunice.com.

Black screen with white text: Florida Training, www.FLtraining.com, www.NurseEunice.com

Black screen with white text: Florida Training, www.FLtraining.com, www.NurseEunice.com