# How to Measure Oxygen Saturation with a Pulse Oximeter

Oxygen saturation describes the amount of oxygen carried in your blood and is also known as the blood oxygen level. This guide explains how to measure oxygen saturation using a pulse oximeter, a small device that provides a quick and accurate reading. Following these steps helps ensure the reading is reliable and helps you recognize when a level requires further attention.

A person stands next to an image of a pulse oximeter clipped onto a finger, showing readings of SpO2: 98 and pulse: 64. The NHS logo is visible.

# Purpose

This procedure explains how to take an accurate oxygen saturation reading using a pulse oximeter, how to interpret the result against normal ranges, and how to recognize situations that require professional advice.

End screen with NHS Health Education England, partner logos, and copyright information.

# Scope

This procedure applies to anyone responsible for checking a person's oxygen levels, including healthcare workers, support workers, home carers, and family carers or friends who have been asked to take a reading.

# Required equipment

A pulse oximeter that is clean and in working order

A flat surface or the person's chest for resting the hand

The person's bare finger (free of nail varnish or false nails)

# Step 1: Understand the pulse oximeter and what it measures

A pulse oximeter is a small device with a display screen. It is typically clipped onto the end of a person's finger and shows the oxygen level as a percentage, labeled SpO2. Pulse oximetry is useful because it quickly shows whether blood oxygen levels are low.

A close-up of a hand resting on a knee with a pulse oximeter clipped to the finger, displaying its readings. The NHS logo is visible.

A person in a dark polo shirt stands next to the text "How to measure someone's oxygen levels" on a white background with the NHS logo in the top right corner.

# Step 2: Prepare the person and the device

Before you begin, confirm the pulse oximeter is clean and working. Explain the procedure to the person and obtain their consent, and make sure they are comfortable and understand what you are about to do.

A healthcare worker places a pulse oximeter on the second finger of a seated person's hand. The NHS logo is visible.

Safety note: For an accurate reading, the person should have been sitting quietly for 5 to 10 minutes before you take the measurement.

# Step 3: Attach the pulse oximeter

Ask the person to stick out a finger; the second finger is usually the easiest to use. Place the pulse oximeter clip onto the selected finger, then ask the person to rest their hand on a flat surface or on their chest. Allow the device to take a reading; it may flash briefly before displaying the numbers.

A healthcare worker in a green uniform holds a pulse oximeter, preparing it for use. The NHS logo is visible.

A blue and white clock illustration highlighting the importance of waiting before taking a reading. The NHS logo is visible.

# Step 4: Read and record the result

Observe the display for two numbers. One should be in the 90s and may be shown with a percentage sign (%) next to the label SpO2. Write down the numbers exactly as they appear on the display.

Close-up of a pulse oximeter on a finger, showing SpO2: 98% and pulse: 65, with the SpO2 value circled. The NHS logo is visible.

# Step 5: Interpret the reading against normal ranges

A normal oxygen saturation range is 95% or higher. Lower levels might indicate illness, but be aware that some people with existing lung problems may have lower readings than this most of the time as their normal baseline.

Text "Normal oxygen levels" on a white background with the NHS logo in the top right corner.

Text "Normal oxygen saturation range is 95% or higher" on a white background with the NHS logo in the top right corner.

# Limitations and troubleshooting

Certain conditions can affect the accuracy of a pulse oximeter reading. Check the following before and during use:

Ensure the person has a good pulse and adequate blood flow in their fingers; this is essential for an accurate reading.

Check that the person's hands are warm, since cold hands can reduce blood flow and make it difficult for the oximeter to detect a pulse.

Inspect the pulse oximeter probe to confirm it is clean, as a dirty probe can interfere with the sensor.

Remove any nail varnish or false nails from the finger being used, as these can block the sensor and cause an incorrect reading.

Text "How to take a reading" on a white background with the NHS logo in the top right corner.

A person stands next to a list of limitations: good pulse and blood flow in fingers are needed; cold hands or a dirty probe can affect readings; nail varnish or false nails should be removed. The NHS logo is visible.

Safety note: If you encounter any issues getting a reading, or you are unsure about the result, seek advice from a healthcare professional.

# When to seek advice

If you have been asked to check someone's oxygen levels and still have questions, ask a nurse, GP, or another healthcare provider for advice.

If you are a family carer or friend worried about someone, consider talking to your nurse or GP.

If you are a support worker or home carer concerned about someone, discuss it with a colleague, your manager, or a healthcare professional.

In an emergency, call NHS 111 or 999 for immediate assistance.

Text instructions for carers and support workers describing who to contact if worried about someone's readings, and when to call NHS 111 or 999 in an emergency. The NHS logo is visible.

# Summary

By following these steps, you can accurately measure and interpret oxygen saturation using a pulse oximeter: prepare the person and device, attach the clip correctly, read and record the SpO2 percentage, and compare it against the normal range of 95% or higher. Always account for factors such as cold hands, a dirty probe, or nail varnish that may affect accuracy, and seek professional advice whenever you are unsure about a result or need emergency assistance.