# How to Perform an EKG (ECG): Step-by-Step Procedure

This documentation explains how to perform an EKG, also known as an electrocardiogram (ECG), which records the electrical activity of a patient's heart. It covers every stage of the procedure, from introducing yourself and confirming patient consent through electrode placement, lead connection, recording, and reviewing the final printout. Following these steps in order helps ensure an accurate trace and a safe, comfortable experience for the patient.

Two people seated facing each other, with the heading "Confirm patient details" above.

# Purpose

This procedure standardizes how to perform an EKG so that the electrical tracing of the heart is captured accurately, the patient is correctly identified, and the patient's comfort and privacy are maintained throughout.

Title screen with "How to Record an ECG", a stylized heart, and a website link for the written guide.

# Scope

This procedure applies to any medical professional performing a 12-lead ECG on a patient in a clinical setting.

# Required equipment and materials

ECG machine with color-coded leads

Disposable electrodes (sticky pads)

Examination couch

Pillow for patient support

Screen with text: "Special thanks to Numed Healthcare for providing the equipment used in this video"

# Procedure

## Step 1: Introduce yourself and confirm consent

Greet the patient, introduce yourself as the medical professional performing the ECG, and thank them for coming. Ask for the patient's name and date of birth to confirm their identity.

Example exchange:

"Can I just confirm your name and date of birth?"

Patient: "James Alexander, 13th December 1989."

Explain that you would like to perform an ECG, describe it as an electrical tracing of the heart, and confirm the patient is comfortable with the procedure.

Example: "I'd like to do an ECG today. It's an electrical tracing of your heart. Would that be okay?"

Wait for the patient to agree before proceeding.

## Step 2: Confirm patient details

Sit facing the patient in a quiet, private environment and confirm their full name and date of birth again to ensure correct identification and safety.

Example: "Sure, it's James Alexander, 13th December 1989."

## Step 3: Explain the procedure

Clearly explain what an ECG is and what it involves. State that sticky pads (electrodes) will be placed on the chest, arms, and legs to measure the heart's electrical activity.

Two people seated, one explaining with a gesture toward the chest, with the heading "Explain procedure" above.

Example: "It's going to involve me placing some sticky pads on your chest, arms and legs and measuring the electrical activity of your heart."

Reassure the patient, answer any questions, and confirm again that they are comfortable to proceed.

## Step 4: Prepare the patient

Ask the patient to remove their top to allow access to the chest, and instruct them to lie down on the examination couch. Confirm the patient is comfortable and ask whether they have any chest pain.

Example: "Are you comfortable where you are?" Patient: "Yes, I am."

Position the patient at a 45-degree angle on the couch, using a pillow for support.

Patient lying on a couch at a 45-degree angle, shirtless, with the heading "Position the patient at 45°" above.

## Step 5: Identify electrode placement landmarks

Visually identify and palpate the anatomical landmarks used for electrode placement, including the sternal angle and the 4th intercostal space. Mark the positions for chest leads V1 through V6 as follows:

V1: Right 4th intercostal space at the sternal border

V2: Left 4th intercostal space at the sternal border

V3: Midway between V2 and V4

V4: Left 5th intercostal space at the mid-clavicular line

V5: Left anterior axillary line at the level of V4

V6: Left mid-axillary line at the level of V4

Patient lying down with a diagram overlay showing the sternal angle, 4th intercostal space, and electrode positions V1 through V6.

Patient with two electrodes attached to the chest, with the heading "Attach V4 (5th intercostal space, mid-clavicular line)" above.

## Step 6: Attach electrode V1

Begin attaching the sticky pad electrodes at the identified positions, starting with V1 at the right 4th intercostal space. Ensure the electrode is firmly attached to clean, dry skin.

## Step 7: Attach electrode V4

Continue by attaching V2 at the left 4th intercostal space, then attach V4 at the left 5th intercostal space along the mid-clavicular line.

Clinician attaching an electrode to the patient's chest, with the heading "Attach V1 (right 4th intercostal space)" above.

## Step 8: Attach electrode V5 and complete chest lead placement

Attach V5 at the left anterior axillary line at the level of V4, then complete the set by attaching V3 (midway between V2 and V4) and V6 (left mid-axillary line at the level of V4). Ensure every electrode is firmly attached to clean, dry skin.

Clinician attaching an electrode to the patient's side, with the heading "Attach V5 (left anterior axillary line at the level of V4)" above.

## Step 9: Attach upper limb electrodes

Ask the patient to relax their hands flat at their sides. Attach an electrode to a bony prominence on each upper limb, such as the ulnar styloid process at the wrist.

Patient lying on the couch with chest electrodes in place, with the heading "Attach an electrode to a bony prominence on each upper limb (e.g. ulnar styloid process)" above.

Example instruction: "So if you just relax your hands flat for me, just on the side. That's great, thank you. Just gonna put some sticky pads on your wrist and on your ankles as well."

## Step 10: Attach lower limb electrodes

Attach an electrode to a bony prominence on each lower limb, such as the medial malleolus at the ankle. Confirm all limb electrodes are securely in place before proceeding.

Patient lying on the couch, focus on the legs, with the heading "Attach an electrode to a bony prominence on each lower limb (e.g. medial malleolus)" above.

## Step 11: Connect ECG leads to electrodes

Attach the ECG machine leads to the corresponding chest and limb electrodes, matching each lead's color and label to the correct position. Double-check all connections for security and correct placement.

Close-up of the chest with all chest leads attached, with the heading "Attach ECG leads to the electrodes (chest leads and limb leads)" above.

## Step 12: Verify lead colour coding

Confirm each lead is connected to the correct limb using color as a guide. For example, the yellow lead connects to the left arm ("Lemon = Left"), and the black lead connects to the right leg.

Yellow lead attached to the left arm, with the heading "Yellow lead = left arm (Lemon = Left)" and an arrow pointing to the lead.

Black lead attached to the right leg, with the heading "Black lead = right leg" above.

## Step 13: Instruct the patient during recording

Politely ask the patient to remain still and avoid talking during the ECG recording to reduce electrical artefact.

Patient lying still with all leads attached, with the heading "Politely ask the patient to avoid moving or talking during the ECG recording (to reduce electrical artefact)" above.

Example instruction: "Please avoid moving or talking during the ECG recording."

## Step 14: Operate the ECG machine and inspect trace quality

Start the ECG recording using the machine controls. Inspect the trace on the machine display to ensure it is clear and free from interference before saving or printing.

Close-up of the ECG machine screen showing the trace, labeled buttons, and the heading "Inspect trace quality."

## Step 15: Label the ECG with patient details

Ensure the printed or saved ECG is labeled with the patient's full name, date of birth, and other identifying details. Double-check that the information matches the patient.

ECG printout with patient details and the heading "Label the ECG with the patient's details."

## Step 16: Remove electrodes and leads

Thank the patient for their cooperation. Gently remove all leads and electrodes, and assist the patient in getting dressed. Confirm they are comfortable before leaving.

Safety note: Maintain patient privacy and dignity throughout the procedure. Dispose of single-use electrodes appropriately and clean reusable equipment according to local protocols.

## Step 17: Review and interpret the ECG printout

Examine the printed ECG for patient identification details and recording settings before filing or handing it over for clinical review. A typical printout includes:

Patient identification: name, ID number, date of birth, sex

ECG type: 12-Lead ECG, with date and time of recording

Heart Rate (HR)

PR interval

QRS duration

QT/QTc

P-QRS-T axes

Rhythm interpretation

Calibration settings (e.g., 25 mm/sec, 0.05–150 Hz)

ECG printout showing patient details, heart rate, rhythm interpretation, and all 12 leads.

Visually inspect all 12 leads (I, II, III, aVR, aVL, aVF, V1–V6) for trace quality and abnormalities, and ensure the printout is clear, legible, and free from artefact.

# Verification and summary

Confirm all steps of the procedure have been completed before concluding the ECG.

Follow local protocols for documentation, equipment cleaning, and patient care.

Refer to professional clinical training for further guidance and competency development.

# Disclaimer

This documentation is intended for educational purposes and may contain errors. It should not substitute for professional clinical training, and clinical skills should not be performed based solely on this information. No liability is accepted for loss incurred from reliance on the information provided.

Screen with disclaimer text about accuracy, liability, and the need for professional training

# What's next

Continue building competency by seeking supervised practice and professional clinical training in performing and interpreting ECGs.