# Standard Operating Procedure: Gram Stain Preparation and Interpretation

# Purpose

This procedure describes how to prepare, stain, and interpret a Gram stain slide for bacterial identification. The Gram stain is a critical laboratory technique developed by Hans Christian Gram in 1884 for differentiating bacteria, and it remains widely used today to distinguish between gram-positive and gram-negative bacterial cells.

The Gram stain provides two essential pieces of information:

The gram reaction (the color of the cell after staining)

The cell morphology (the shape of the cell: spherical, rod, or spiral)

Nearly all clinically significant bacteria can be categorized into these three morphological groups, which is vital for diagnosing infections and guiding patient care. The Gram stain differentiates bacteria based on differences in their cell wall structure.

Title screen showing "HARDY DIAGNOSTICS: Gram Stain Tutorial - How to prepare a perfect Gram Stain"

# Scope

This procedure applies to laboratory personnel performing Gram staining on bacterial colonies from petri plates, clinical specimens, or environmental samples for the purpose of identifying gram reaction and cell morphology under a microscope.

# Background: Principles of the Gram stain

The bacterial cell wall is composed of peptidoglycan, a layer made of sugars and amino acids surrounding the plasma membrane. Key differences between gram-positive and gram-negative bacteria include:

Gram-positive bacteria: Stain dark blue-purple due to a thick peptidoglycan layer that retains the primary dye.

Gram-negative bacteria: Stain pink to red because their thin peptidoglycan layer loses the primary dye when treated with alcohol.

Under the microscope, gram-positive cells appear purple and gram-negative cells appear pink/red. Bacterial shapes include coccoid (spherical), bacillus (rod-shaped), and spiral (corkscrew-shaped).

Microscopic image showing both purple (gram-positive) and pink (gram-negative) bacteria with different shapes

The three main bacterial morphologies are:

Coccoid: Spherical cells

Bacillus: Rod-shaped cells

Spiral: Corkscrew-shaped cells

Diagram showing three bacterial shapes: coccoid (spheres), bacillus (rods), spiral (spirals), each labeled

The peptidoglycan layer is the key structural component of the bacterial cell wall.

Diagram showing a cross-section of a bacterial cell wall with the peptidoglycan layer labeled

The cell wall structures of gram-negative and gram-positive bacteria differ as follows:

Gram-negative: Has an outer membrane, a thin peptidoglycan layer, and a cytoplasmic membrane.

Gram-positive: Lacks an outer membrane but has a thick peptidoglycan layer and a cytoplasmic membrane.

Side-by-side diagram comparing gram-negative and gram-positive cell wall structures, with labeled layers

# Required equipment and supplies

Clean microscope slide

Sterile saline or deionized water

Sterile inoculating loop or collection swab

Absolute methanol

Copeland jar (optional, for methanol dipping)

Crystal Violet (primary stain)

Gram's Iodine (mordant)

Decolorizer (alcohol/acetone mixture)

Safranin or carbol fuchsin (counterstain)

Bibulous paper

Immersion oil

Microscope with high dry (40x) and oil immersion objectives

Paper towels

Staining rack

Gloves

# Procedure

## Step 1: Prepare the slide

Place a clean microscope slide on a flat, protected surface.

Add one drop of sterile saline or deionized water to the center of the slide, ensuring the drop is small and well-centered.

Laboratory setup showing a microscope slide with a drop of sterile saline, labeled, and surrounded by staining supplies

## Step 2: Prepare the smear

Use a sterile loop to collect bacteria from the edge of an isolated colony on a petri plate.

Place the loop into the drop of sterile saline or deionized water on the microscope slide.

Swirl the loop gently to distribute the bacterial cells evenly, ensuring the smear is one cell layer thick.

Using cells from a single colony is important to ensure only one cell type is present.

The culture should be between 18 and 24 hours old for optimal results, as older cells may yield variable staining.

A gloved hand uses a blue sterile loop to swirl a drop of liquid on a microscope slide, which is placed on a paper towel. A labeled vial and other lab equipment are nearby.

Alternatively, if a colony is not available, use a collection swab from a clinical specimen or environmental sample.

Ensure the sample is applied to the slide in a thin, even layer.

Confirm that the culture is between 18 and 24 hours old.

A microscope slide on a paper towel with a labeled vial nearby. On-screen text: "Culture should be between 18 and 24 hours old".

## Step 3: Fix the smear

Allow the smear to air dry completely. Do not heat the slide.

Once dry, fix the bacterial cells to the slide using absolute methanol:

Place or hold the slide over a paper towel.

Flood the slide with absolute methanol for two minutes, or dip the slide into a Copeland jar filled with methanol.

After two minutes, tilt the slide to drain off excess methanol and let the slide air dry.

Safety and quality notes:

Do not wipe or blot the slide, as this can remove cells.

Do not heat the slide.

Methanol fixation is preferred over heat fixation because it preserves cell morphology and prevents cell loss during staining.

Heating can cause cell distortion, increase debris, and result in erroneous gram reactions.

Illustration of a cell membrane with blue protein structures. On-screen text: "Always methanol fix your slide. Never use heat!"

Artistic interpretation showing cell debris and distortion. On-screen text: "Heating causes cell distortion, debris, and erroneous stain results."

## Step 4: Apply the primary stain (Crystal Violet)

Place the air-dried, methanol-fixed slide on a staining rack over a sink or suitable container.

Flood the slide with Crystal Violet, ensuring the smear is completely covered. Crystal Violet is a dark blue to purple dye that stains all bacterial cells.

Allow the stain to sit for one minute.

A labeled slide on a staining rack with a dark blue/purple liquid (Crystal Violet) covering the smear. A timer shows 00:28 seconds remaining.

After one minute, rinse the slide gently with deionized or tap water to remove excess Crystal Violet.

## Step 5: Apply the mordant (Gram's Iodine)

Flood the slide with Gram's Iodine for one minute.

Iodine acts as a mordant, linking to the Crystal Violet and fixing it to the cell walls.

The negatively charged iodine molecules bind to the positively charged dye, enhancing retention in gram-positive cells.

Artistic interpretation with blue and yellow hues. On-screen text: "Iodine will fix the Crystal Violet to the cell walls."

After one minute, rinse the slide thoroughly with deionized or tap water to remove excess iodine.

This step ensures that only the iodine bound to the crystal violet remains, which is essential for differentiating cell wall types.

The iodine acts as a mordant, trapping the crystal violet in the peptidoglycan layer of bacterial cell walls.

Artistic interpretation with blue and yellow hues, on-screen text: "Iodine will fix the Crystal Violet to the cell walls."

## Step 6: Decolorize the slide

Tilt the slide at an angle over a sink or tray to prepare for decolorization. Hold the slide securely using gloved hands to avoid contamination or dropping the slide.

Add the decolorizer dropwise to the slide, allowing it to flow over the smear.

Use a squeeze bottle labeled "Decolorizer" for controlled application.

Continue adding decolorizer until the violet color stops running off the slide.

The decolorizer is typically a mixture of alcohol and acetone.

The ratio of alcohol to acetone can be adjusted based on personal preference: faster decolorizers contain higher concentrations of acetone, while slower decolorizers contain higher concentrations of alcohol.

A gloved hand holds a labeled microscope slide at an angle over a sink, applying decolorizer dropwise from a squeeze bottle. The violet stain is visibly running off the slide.

As soon as the solution running off the slide becomes clear, immediately rinse the slide with deionized or tap water to neutralize the decolorizer.

Safety note: This step is critical to prevent over-decolorization, which can lead to false results.

A gloved hand rinses the slide with water after decolorization, ensuring all excess decolorizer is removed.

Decolorizer chemistry reference:

Fast decolorizer: high amounts of acetone.

Slow decolorizer: high amounts of alcohol.

Diagram showing "Fast Decolorizer high amounts of acetone" and "Slow Decolorizer high amounts of alcohol" with colored bars labeled "acetone" and "alcohol".

Effect of decolorizer on cell walls:

In gram-negative bacteria, the decolorizer extracts lipids from the outer membrane, increasing cell wall permeability and causing the purple dye-mordant complex to be lost from the thin peptidoglycan layer.

In gram-positive bacteria, the decolorizer dehydrates the thick peptidoglycan layer, decreasing permeability and causing the cells to retain the crystal violet-iodine complex.

Diagram comparing Gram-Negative and Gram-Positive cell walls, showing outer membrane, peptidoglycan, and cytoplasmic membrane.

After decolorization, gram-positive cells will appear blue-purple, while gram-negative cells will be colorless until counterstained.

Important: Adjust decolorization time based on smear thickness. A thick smear will require more decolorizer than a thin smear. Always stop the decolorization process immediately after the blue dye stops running off the slide to avoid false results.

On-screen text: "*Note that a thick smear will require more decolorization than a thin smear. Be sure to stop the decolorization process immediately after the blue dye stops running off the slide." Hardy Diagnostics logo.

Critical safety tips:

Over-decolorization can result in false gram-negative results.

Under-decolorization can result in false gram-positive results.

Monitor the color running off the slide closely and rinse immediately when it runs clear.

## Step 7: Apply the counterstain

Cover the slide with safranin or carbol fuchsin for one minute.

This step stains the gram-negative cells pink/red, while gram-positive cells remain purple.

Diagram showing two circles labeled "Gram-negative" (white) and "Gram-positive" (purple/blue) on a purple background, with the Hardy Diagnostics logo

Diagram showing "Gram-negative" as pink and "Gram-positive" as purple/blue, with the Hardy Diagnostics logo

Rinse the slide gently with deionized or tap water to remove excess stain. This ensures only the cells retain the stain, not the background.

Diagram showing cross-sections of Gram-negative and Gram-positive cell walls, labeled with "Outer membrane," "Peptidoglycan," and "Cytoplasmic membrane"

Use bibulous paper to blot the slide dry carefully. Do not rub the slide, as this may remove the stained cells.

Gloved hand holding a booklet labeled "Bibulous Paper" on a lab bench, with Hardy Diagnostics logo

## Staining time summary

| Reagent | Exposure time |
| --- | --- |
| Crystal Violet | 30 to 60 seconds |
| Iodine | 30 to 60 seconds |
| Acetone/Alcohol Decolorizer | Only enough time to rinse away the blue stain |
| Safranin | 30 to 60 seconds |

Summary slide listing: Crystal Violet exposure 30 to 60 seconds, Iodine exposure 30 to 60 seconds, Acetone/Alcohol Decolorizer only enough time to rinse away the blue stain, Safranin exposure 30 to 60 seconds

## Step 8: View the slide under the microscope

First, focus on the image using the high dry objective lens (marked 40x).

Without removing the slide, switch to the oil immersion objective for higher magnification.

Apply a drop of immersion oil directly onto the stained area of the slide before using the oil immersion lens.

Lab technician in PPE using a microscope, labeled "Oil immersion," preparing to apply immersion oil

# Interpreting results

Under the microscope, observe the stained cells:

Gram-positive bacteria will appear purple (e.g., Staphylococcus aureus cocci).

Gram-negative bacteria will appear pink/red.

Microscope image showing clusters of purple cocci (gram-positive) and pink rods (gram-negative) on a light background

By following these steps, you will successfully complete the Gram staining procedure and be able to distinguish between gram-positive and gram-negative bacteria based on their color under the microscope.

For reference, a sample slide shows purple clusters of cocci (Gram-positive Staphylococcus aureus) and pink rods (Gram-negative E. coli).

Microscope image showing clusters of purple cocci (Staphylococcus aureus, Gram-positive) and pink rods (Gram-negative), with a petri dish and label "Staphylococcus aureus"

# Verification: Quality control and reagent selection

## Select high-quality reagents

Use a complete Gram stain kit for best results. For example, the Hardy Diagnostics Gram Stain Advanced kit includes:

Advanced Crystal Violet

Gram's Iodine, Stabilized

Decolorizer, Intermediate (Acetone, 50% Alcohol)

Advanced Counterstain

These reagents are formulated for vivid, reliable staining, even for difficult-to-stain bacteria.

Four bottles labeled "Advanced Crystal Violet," "Gram's Iodine, Stabilized," "Decolorizer, Intermediate," and "Advanced Counterstain" in a Hardy Diagnostics box labeled "Gram Stain Advanced"

## Verify staining quality

Examine your stained slide for bright, vivid colors. Ensure gram-positive bacteria appear purple and gram-negative bacteria appear pink/red. Use a reference image to compare your results and confirm staining quality.

Microscope field showing a dense mix of purple cocci and pink rods, labeled "Gram Stain Advanced"

## Use quality control slides

Use Q-Slide Gram controls to test your staining technique.

Each slide contains positive (S. aureus) and negative (E. coli) controls.

Hold the slide by the edges with gloved hands to avoid contamination.

Compare your results to the expected outcomes for each control.

Gloved hand holding two Q-Slide Gram slides, each labeled with positive (S. aureus) and negative (E. coli) controls, and six numbered sections

# Support and additional resources

For additional information, supplies, or technical support, contact Hardy Diagnostics:

Phone: 800-266-2222

Website: HardyDiagnostics.com

Hardy Diagnostics offers a full range of microbiology products and a dedicated service culture.

Hardy Diagnostics logo, tagline "A Culture of Service," phone number 800-266-2222, and website HardyDiagnostics.com on a colorful background

Hardy Diagnostics logo, tagline "A Culture of Service," phone number 800-266-2222, and website HardyDiagnostics.com on a colorful background

By following these steps and utilizing quality reagents and controls, you will ensure accurate Gram stain results and have access to expert support for all your microbiology needs.