# How to Pour an Agarose Gel for Electrophoresis: DNA Sample Loading and Run SOP

This SOP describes how to pour an agarose gel for electrophoresis into a mini subcell, add running buffer, load DNA samples into the gel wells, and run the electrophoresis to separate DNA fragments by size using an electric current. Follow these steps in sequence, and always cross-reference your specific lab protocol for exact volumes, voltage, and run times.

# Purpose

This method describes the procedure for loading DNA samples onto a pre-cast agarose gel and running horizontal gel electrophoresis on a mini subcell system. The intended analytical use is the size-based separation of DNA fragments for downstream visualization and analysis.

# Scope

This procedure applies to DNA samples arranged in microtubes and loaded into a Bio-Rad Mini-Sub Cell GT or equivalent mini subcell electrophoresis system. It covers gel placement into the chamber, buffer addition, sample loading, lid and electrode connection, power supply setup, and run monitoring. It is intended for laboratory analysts trained in basic pipetting and electrophoresis equipment operation. This SOP does not cover the casting or polymerization of the agarose gel itself, nor downstream staining, visualization, or imaging of the gel; those steps should be addressed in a separate protocol.

# Principle

Agarose gel electrophoresis separates DNA fragments according to size using an applied electric current. Because DNA is negatively charged, it migrates through the gel matrix toward the positive electrode when current is applied. Smaller fragments move more quickly through the gel pores than larger fragments, resulting in size-based separation of the sample bands over the course of the run. Bubble formation at the electrodes and visible migration of the dye front confirm that current is flowing correctly through the buffer and gel.

# Materials and reagents

| Item | Purpose |
| --- | --- |
| Mini subcell (e.g., Bio-Rad Mini-Sub Cell GT) | Houses the gel chamber, electrodes, and lid for electrophoresis |
| Pre-cast agarose gel | Separation medium for DNA fragments |
| Electrophoresis running buffer | Conducts current through the gel chamber |
| Micropipette (adjustable) and pipette tips | Aspirates and dispenses DNA samples into gel wells |
| DNA samples (in microtubes) | Test material to be separated by size |
| Power supply | Delivers constant voltage current to the electrodes |
| Gloves | Personal protective equipment for sample and equipment handling |

Ensure all equipment is clean and ready for use before beginning. Buffer should be prepared and available in sufficient volume to cover the gel and wells by at least 2 mm.

Laboratory bench with electrophoresis equipment, micropipettes, buffer containers, and a mini subcell arranged for agarose gel electrophoresis

# Procedure

## 1. Prepare the gel chamber

Locate the electrode wires at each end of the mini subcell. These wires carry the electric current through the gel during the run.

Close-up of the mini subcell showing the black negative and red positive electrode terminals and the gel chamber

## 2. Pour and align the agarose gel in the chamber

Place the agarose gel into the gel chamber. Ensure the wells of the gel are positioned closest to the negative (black) electrode. This orientation is critical because DNA is negatively charged and migrates toward the positive (red) electrode during electrophoresis.

Mini subcell with the black negative and red positive electrodes clearly marked, gel chamber ready to receive the gel

## 3. Add electrophoresis running buffer

Pour electrophoresis running buffer into the reservoirs at each end of the gel chamber. Continue adding buffer until the wells and the gel are covered by at least 2 mm of buffer.

Buffer being poured into the gel chamber, covering the gel and wells with at least 2 mm of buffer

Close-up showing the buffer level above the gel and wells, with the BIO-RAD Mini-Sub Cell GT label visible

## 4. Prepare DNA samples for loading

Arrange your DNA samples in the correct order according to the lanes to which they are assigned. Refer to your lab protocol for the specific loading order.

Side view of the gel chamber showing buffer level and the MAX fill line, ready for sample loading

## 5. Set the micropipette

To obtain a DNA sample, slowly depress the plunger on your adjustable micropipette to the first, or "soft," stop.

Gloved hand depressing the plunger of an adjustable micropipette to the first stop

## 6. Aspirate the DNA sample

While holding the plunger down at the first stop, insert the pipette tip into the microtube containing the DNA sample.

Gloved hand holding the micropipette at the first stop, ready to aspirate a DNA sample from a microtube

Place the pipette tip close to the bottom of the microtube, then slowly release the plunger button to draw the sample into the tip.

Gloved hands holding a microtube with the pipette tip inserted near the bottom, ready to aspirate the DNA sample

## 7. Position and lower the pipette into the well

Hold the pipette perpendicular to the row of wells in the agarose gel; this orientation helps prevent accidental puncturing of the wells. Gently lower the tip until it just breaks the surface of the buffer and is positioned just above or just inside the well, taking care not to go too deep.

Pipette tip loaded with blue sample, positioned just above well number 2 in the agarose gel, with buffer visible

## 8. Dispense the DNA sample into the well

Slowly apply pressure to the plunger button, stopping at the first stop, and observe as the sample fills the well. Pause briefly, then slowly remove the pipette while keeping your thumb down on the plunger to avoid drawing liquid back up.

Pipette tip dispensing blue sample into well number 3 in the agarose gel, with buffer and well numbers visible

Pipette tip positioned above the well after dispensing, blue sample visible in the well, wells 3, 4, and 5 visible

Repeat this loading process for each DNA sample, following your lab protocol for the correct order. Avoid bumping or moving the gel chamber after loading to prevent sample mixing or spilling.

## 9. Secure the gel chamber lid

Carefully place the lid on the gel chamber, ensuring the terminals on the lid are correctly aligned: black to black (negative) and red to red (positive).

Gloved hand placing the clear lid with attached electrodes onto the Bio-Rad Mini-Sub Cell GT gel chamber, power supply visible in the background

## 10. Connect the electrodes

Attach the electrode cables from the gel chamber to the power supply. Double-check that the red cable is connected to the red terminal and the black cable to the black terminal on both the chamber and the power supply.

Gel chamber with lid secured, red and black electrode cables connected to matching terminals, power supply visible

Close-up of the power supply with red and black cables connected to the correct terminals

## 11. Set the power supply

Switch on the power supply and set the correct constant voltage for running the samples as specified in your lab protocol. If your power supply has a timer, set it for the appropriate run time (for example, 18 minutes).

Close-up of the power supply display showing 18, with a gloved hand adjusting the timer and control buttons visible

## 12. Start the electrophoresis run

Press the start or run button on the power supply to begin the flow of current. DNA fragments will now separate according to size as they migrate through the gel.

Close-up of the power supply display showing 9, with a gloved hand pressing the button to start the run

## 13. Monitor the run

After starting the electrophoresis run, check for bubbles forming at the electrode wires at each end of the gel box; the negative (black) electrode typically produces more bubbles than the positive (red) electrode. This bubbling confirms current is flowing through the buffer and gel.

Close-up of the power supply display showing 60, with a gloved hand near the black electrode connection, indicating current is applied

Within a few minutes, watch the wells for signs of sample migration. The dye front (visible blue bands) will begin moving away from the wells, indicating DNA fragments are traveling through the gel matrix.

Top-down view of the gel box showing blue dye bands just beginning to migrate from the wells into the gel, with ruler markings visible at the top

Track the direction of migration: the dye front and DNA samples move from the negative electrode (black) toward the positive electrode (red), consistent with the negative charge of DNA.

Top-down view of the gel box showing blue dye bands migrating further into the gel, with clear movement from left (negative) to right (positive)

Periodically check the gel to confirm the dye front continues to move smoothly, and avoid disturbing the gel box during the run.

Top-down view of the gel box with two distinct blue dye fronts migrated further into the gel, bubbles visible on the left side, ruler markings at the top

As the run continues, confirm that the dye front becomes more pronounced and moves steadily toward the positive electrode, providing visual confirmation that electrophoresis is proceeding correctly.

Top-down view of the gel box with blue dye fronts clearly separated and advanced further into the gel, bubbles still visible on the left, ruler markings at the top

# Calculations

This procedure is a qualitative loading-and-run method; no numerical calculations, dilution factors, or reporting units are generated during gel loading and electrophoresis itself. Downstream fragment sizing, band quantification, or concentration calculations from gel images should be documented in a separate analysis protocol.

# Quality controls

Bubble formation: Bubbles at both electrode wires, with more bubbles typically at the negative (black) electrode, confirm current is flowing correctly through the buffer and gel.

Dye front migration: Visible movement of the blue dye bands away from the wells and toward the positive (red) electrode confirms the samples are migrating as expected.

Electrode orientation check: Confirm black-to-black and red-to-red alignment on the lid, chamber, and power supply before each run to avoid reversed migration.

Failed-run handling: If no bubbles or sample migration are observed, immediately stop the run and check all connections and settings before restarting.

Always refer to your specific lab protocol for exact voltage, run time, and sample order, and handle all equipment and samples with care to ensure accurate and reliable results.