# How to Read a Pipette: Standard Operating Procedure

This standard operating procedure explains how to read a pipette correctly and use it to aspirate and dispense liquid with accuracy. Understanding how to read a pipette's controls and markings is essential for consistent, reliable results in laboratory work. Follow the steps below to ensure safe handling and precise measurements.

# Purpose

This procedure describes the correct technique for identifying pipette controls, attaching tips, aspirating and dispensing liquid, and disposing of used tips safely, in order to minimize strain and maximize measurement accuracy.

# Scope

This procedure applies to standard laboratory pipetting tasks, including liquid aspiration, sample transfer, and tip disposal using a manual pipette.

# Required equipment and PPE

Pipette

Appropriate pipette tips

Tip box

Sample liquid and original vessel

Microcentrifuge tube or receiving vessel

Garbage bin for tip disposal

Lab coat

Gloves

# Procedure

## Step 1: Identify the pipette controls

Locate the control button, which has two stops, and the ejector button on your pipette. The control button is used for aspirating and dispensing liquid, while the ejector button is used for removing the tip. Understanding how to read these controls before you begin is the foundation of correct pipetting technique.

Close-up of a gloved hand holding a pipette, showing the control button and ejector button

## Step 2: Attach the pipette tip

Select an appropriate pipette tip for your pipette. Apply light pressure to insert the pipette into the tip box and attach a tip.

Safety note: Do not use excessive force or move the pipette from side to side, as this can strain your arm and damage the pipette.

A person in a lab coat and gloves holding a pipette above a tip box, demonstrating tip attachment

## Step 3: Position the pipette for aspiration

Hold the pipette vertically to ensure accurate aspiration. The aspiration angle should be as close to vertical as possible.

Safety note: Tilting the pipette can cause you to aspirate too much liquid.

A person in a lab coat holding a pipette vertically, with a tip attached, above a tip box

## Step 4: Control the immersion depth

Immerse the pipette tip into the liquid only as much as necessary, keeping the immersion depth as small as possible.

Safety note: If the tip is immersed too deeply, additional liquid may be aspirated due to the capillary effect, leading to inaccurate measurements.

A person in a lab coat holding a pipette vertically, with the tip just immersed in liquid; on-screen text reads "Immersion depth as small as possible."

## Step 5: Aspirate the liquid

Press the control button down to the first stop. Immerse the tip into the liquid, maintaining a vertical angle and minimal immersion depth. Slowly release the control button to aspirate the liquid into the tip.

## Step 6: Pre-wet the pipette tip

Press the control button down to the first stop and aspirate liquid into the tip, then dispense the liquid back into the original vessel. Repeat this process 2 to 3 times to saturate the air in the tip and ensure accurate pipetting. This step, called pre-wetting, conditions the tip for consistent results.

Pipette tip immersed in a microcentrifuge tube containing green liquid, lid open; on-screen text reads "Pre-wet the tip 2-3 times. Dispense all liquid before aspirating sample liquid."

## Step 7: Aspirate the sample

After pre-wetting, press the control button to the first stop. Immerse the tip into the sample liquid, maintaining a vertical angle and minimal immersion depth. Slowly release the control button to aspirate the sample into the tip.

## Step 8: Dispense the liquid

Hold the pipette at a dispensing angle between 20° and 45°.

Safety note: Ensure the pipette tip stays in contact with the vessel wall during dispensing. This guarantees optimal flow and prevents splashing or incomplete transfer.

A person in a lab coat and gloves holding a pipette at an angle, with the tip in contact with the vessel wall; on-screen text reads "Dispensing angle of 20-45° with contact to vessel wall."

## Step 9: Perform the blowout

Press the control button down to the first stop to dispense the liquid. Then press further down to the second stop (blowout) to ensure the tip is emptied completely.

A person in a lab coat and gloves pressing the pipette control button, demonstrating the blowout step at the vessel wall

## Step 10: Eject the pipette tip

Move the pipette over a garbage bin. Press the ejector button to remove and discard the used tip safely.

A person in a lab coat and gloves holding a pipette, preparing to eject the tip, with pipette tips and lab equipment visible

# Verification and summary

Confirm that each of the following points has been followed correctly:

Use light pressure to attach the tip, avoiding side-to-side movement.

Maintain a vertical aspiration angle at all times.

Keep the immersion depth as small as possible for accuracy.

Pre-wet the tip 2 to 3 times before aspirating the sample.

Dispense at a 20°–45° angle with the tip in contact with the vessel wall.

Perform the blowout step to fully empty the tip.

Eject and discard the used tip safely over a garbage bin.

A person in a lab coat summarizing pipetting best practices; on-screen text reads "Soft tip attachment, vertical aspiration, low immersion depth. Pre-wetting, dispensing angle 20-45° to the vessel wall."

Following these steps ensures accurate, reliable, and safe pipetting results, supporting consistency and precision in your laboratory work.

# Further resources

For more detailed pipetting tutorials and resources, visit: www.eppendorf.com/pipetting

Screen displaying the URL www.eppendorf.com/pipetting along with copyright information