# How to Use a Microscope: Standard Operating Procedure

This document explains how to use a microscope in a laboratory setting, covering setup, operation, focusing, troubleshooting, and cleanup. Follow these steps in order to ensure consistent, safe handling of the equipment and reliable observation results.

# Purpose

This procedure describes how to use a microscope correctly from initial setup through storage. It is intended to help you set up the equipment properly, focus on a specimen at multiple magnifications, resolve common viewing problems, and return the microscope to storage in good condition.

# Scope

This procedure applies to standard laboratory microscopes used in the Biology 10 laboratory. It covers four stages of use:

Credits slide: Produced by Technology Innovation for Learning & Teaching and the Department of Biology, Fresno State logo.

Setting up the microscope

Using the microscope

Troubleshooting hints

Cleanup and storage

# Required equipment

Microscope (retrieved from the storage cabinet)

Microscope slide with specimen

Lens paper (use only lens paper on the lenses)

Lens cleaner

Power outlet

Stable, flat work surface

# Setting up the microscope

Retrieve the microscope from the cabinet. Carry it with both hands—one hand holding the arm and the other supporting the base. If the microscope is too heavy to carry safely, ask for assistance.

Person unwinding the cord from the back of the microscope, preparing to plug it in

Place the microscope on a stable, flat surface.

Unwind the power cord from the back of the microscope and plug it into a power outlet.

Locate the on-off switch on the back of the microscope. Note that the switch may be hard to find if the power cord is still wrapped around the holders.

Check the ocular (eyepiece) lenses. Rotate the oculars until the number 64 aligns with the white line below the rotating part of the lens.

Check the condenser lens and confirm it is positioned just below the stage.

Set the objective lens to low power (typically 4x). Rotate the nosepiece to select the 4x objective, move the stage to its highest position using the coarse focus knob, and adjust the light to a medium or medium-high setting. The brightest setting does not always provide the best image.

Person carrying a microscope with both hands, one on the arm and one under the base, in a laboratory setting

Close-up of the microscope base showing the light source and stage in its highest position

Confirm that the microscope is ready for use. The stage should be at its highest position, the light should be on a medium setting, and the low power objective should be in place.

# Using the microscope

Load the slide. Open the stage clip with one hand and slide a microscope slide onto the stage, positioning it toward the back. Ensure the slide does not go under the clips that hold it in place.

Hand using the stage adjustment knobs to center the slide over the condenser

Center the specimen over the condenser. Use the knobs on the lower right side of the stage—the X and Y stage controls—to adjust the slide until the specimen is directly above the condenser lens.

Hand using the stage adjustment knobs to center the slide over the condenser

# Focusing and observing specimens

Confirm the low power setup. Start with the low power objective lens (4x) and ensure the stage is in its highest position, raised using the coarse focus knob.

Hand adjusting the condenser lens below the stage of the microscope

Look through the ocular (eyepiece) lenses and focus on the specimen using the coarse focus knob. The specimen should already be nearly in focus if the previous steps were followed correctly.

Center the specimen in the field of view using the stage adjustment knobs so it sits directly in the center.

Switch to the next highest objective lens (10x). Rotate the nosepiece to bring the 10x objective into position, then refocus using only the fine focus knob for minor adjustments.

Person looking through the microscope eyepieces while adjusting the coarse focus knob

Center the specimen again in the field of view.

Move to the highest power objective lens (40x). Rotate the nosepiece to select the 40x objective and use only the fine focus knob to bring the specimen into sharp focus.

## Common issues while focusing

If the slide does not move when adjusting the stage knobs: confirm you are using the correct knobs and that the slide is properly clipped in place.

If you have trouble finding the specimen: make sure the specimen is centered, then start over at the lowest power (4x) and move the stage back to its highest position.

Close-up of a hand adjusting the fine focus knob on the microscope

If focusing becomes difficult or frustrating: it may be easier to start over from the lowest power and highest stage position. Only minor adjustments should be needed at each magnification.

While focusing, move the slide slightly back and forth using the slide holder knobs—eyes detect motion better than stationary objects.

For unstained specimens: use the stage diaphragm to reduce the amount of light passing through the specimen, and try to find a bubble or another easily observed object under the cover slip to focus on.

Hand rotating the objective lens to low power and adjusting the stage height

Microscope stage with slide in place, 4x objective lens selected, hand adjusting focus

If the specimen becomes blurry when switching to a higher power lens (appearing as if coated with Vaseline) and cannot be focused, you may need to clean the lens.

Troubleshooting note: focus difficulty—center the specimen and restart at lowest power with the stage raised to its highest position

Hand adjusting the diaphragm under the microscope stage

Troubleshooting note: the specimen becomes blurry when moving to a higher power lens

# Troubleshooting and cleaning procedures

Confirm the blurry-lens issue. If the specimen becomes blurry when switching to a higher power lens and cannot be focused, the lens likely needs cleaning.

Clean the lens.

Soak a piece of lens paper (use only lens paper) with lens cleaner.

Gently wipe the lens with the moistened lens paper.

Wipe the lens dry with a clean piece of lens paper.

Repeat this process a couple of times if necessary.

If the problem persists after cleaning, check with your instructor.

Troubleshooting note stating that the specimen becomes blurry at higher power and the lens may need cleaning, shown against a microscope background

Close-up of the microscope objective lenses showing the area to clean

# Cleanup and storage

Remove the slide from the stage and rotate the nosepiece to position the lowest power objective lens (4x) in place.

Prepare the microscope for storage. Move the stage to a centered position, move the slide holder to the left, and check that the stage is clean and dry.

Hands adjusting the microscope stage and controls with the slide removed and the stage clean and dry

Turn off the microscope. Switch off the light and power, then wrap the power cord neatly around the microscope.

Carry the microscope back to the storage cabinet. Use both hands—one on the arm and one under the base. Ensure the arm faces outward when placing the microscope in the cabinet, and make sure microscopes are not crowded together.

Title slide showing "MICROSCOPES: Basic Setup and Use - Biology 10 Laboratory" and listing "Setting up the microscope, Using the microscope, Troubleshooting, Cleanup" with Fresno State logo

Slide introducing Part 4: Cleanup, with microscope image and Fresno State logo.

# Verification and summary

Before concluding this procedure, confirm the following:

The microscope is powered off and the cord is wrapped neatly.

The slide has been removed and the low power (4x) objective is in place.

The stage is centered, clean, and dry.

The microscope is stored in the cabinet with the arm facing outward and adequate space around it.

Close-up of a hand adjusting the ocular lens, aligning the number 64 with a white line

Following these setup, focusing, troubleshooting, cleaning, and storage steps ensures the microscope remains in optimal condition for future use.