# How to Use a Spill Kit: SpillTech 240 Liter Chemical Spill Kit

This standard operating procedure explains how to use a spill kit — specifically the SpillTech 240 Liter Chemical Spill Kit — to safely contain, absorb, and dispose of small chemical spills. Follow these steps in order to protect yourself, contain the hazard quickly, and restore your kit to a ready state for future use.

# Purpose

This SOP provides step-by-step guidance for using the SpillTech 240 Liter Chemical Spill Kit to respond to small chemical spills. It covers donning personal protective equipment (PPE), containing and absorbing the spill, stopping the source of a leak, safely disposing of hazardous waste, and restocking the kit after use.

# Scope

This procedure applies to small chemical spills only. For larger or highly hazardous spills, do not attempt cleanup yourself — call SpillTech immediately for professional assistance.

# Safety warning

Chemical spills are extremely dangerous. Use this kit only for cleaning up small spills. For bigger spills, call SpillTech immediately.

Red warning screen stating that chemical spills are extremely dangerous, that the kit is intended for small spills, and that SpillTech should be called immediately for bigger spills.

# Required equipment: kit contents

Before you begin, familiarize yourself with the contents of the SpillTech Chemical Spill Kit:

Yellow wheely bin labeled "Spill Tech Chemical Spill Kit"

Sparkproof spade and broom

Two large bags of chemical scatter (yellow absorbent material)

Chemical absorbent pads

2-meter absorbent boom (white, coiled)

Heavy-duty disposal bags with ties

Personal protective equipment (PPE): PVC gloves, goggles, dust mask

Full contents of the Spill Tech Chemical Spill Kit displayed, including the yellow wheely bin, sparkproof broom and spade, absorbent bags, absorbent pads, absorbent boom, and PPE, with a text list of contents.

Depending on the type of chemical and your industry, alternative products may be required. Contact SpillTech for assistance customizing your spill kit to suit your specific needs.

# Fire and static safety

Some chemicals, such as alcohols, are highly flammable and can ignite from a small spark. Static electricity from devices like cell phones can also ignite chemical fumes. Only use the non-friction (sparkproof) spades and brooms provided in the kit to minimize ignition risk.

Person in full PPE — red helmet, mask, goggles, gloves, and Spill Tech vest — holding a sparkproof broom and spade in front of a red roller door.

# Required PPE

Always prioritize your safety before approaching a spill. Required PPE includes:

Helmet

Safety goggles and mask

Overall

Safety gloves

Safety boots

Person standing in full PPE with labeled items: helmet, safety goggles and mask, overall, safety boots, and safety gloves.

# Step 1: Don your PPE in the correct order

Put on your protective equipment in the following sequence:

Remove your helmet.

Pull the mask forward onto your face to cover your nose and mouth, ensuring a snug fit.

Put on your safety goggles.

Put on your gloves.

Replace your helmet.

Confirm you are also wearing your overall and safety boots.

Person wearing a high-visibility vest labeled "SPILL" donning a dust mask while preparing PPE outdoors near a building.

If the chemical gives off strong fumes, use a respirator instead of a standard dust mask. Ensure the respirator fits securely over your nose and mouth, and always prioritize respiratory protection when fumes are present.

Person in full PPE — red helmet, goggles, respirator, and high-visibility vest — with a warning that strong fumes may require a respirator.

# Step 2: Contain the spill

Assess the direction in which the liquid is flowing to determine the best position for the absorbent boom.

Spread the boom out in a semicircle around the spill to act as a dam wall. Walk along the top of the boom and press down firmly to close any gaps at the base, ensuring no liquid seeps underneath.

Close-up of feet pressing down on a white absorbent boom placed in a semicircle on concrete to contain a chemical spill, with yellow absorbent material and the kit visible in the background.

Work quickly to contain the spill and prevent hazardous liquid from reaching drains, causeways, or open ground.

Absorbent boom fully deployed and pressed down, containing a chemical spill on concrete, with yellow absorbent material and pads visible.

# Step 3: Stop the source of the leak

If possible, identify and stop the source of the spill. If the leak is from a container, such as a hole in the side, plug the hole with absorbent pads.

White plastic container leaking liquid from a hole near its base, with liquid pooling on the ground.

When feasible, carefully turn the container so the damaged area or hole faces upward. This reduces liquid pressure and stops further leakage.

Person wearing red chemical gloves pressing an absorbent pad over the hole of a white container that has been turned on its side.

# Step 4: Absorb and clean up the spill

Open a bag of yellow chemical scatter absorbent and evenly apply a layer over the entire spill area. The scatter will change color as it absorbs the liquid.

Person in full PPE opening a bag of yellow chemical scatter, preparing to apply it to the spill area surrounded by an absorbent boom.

If liquid remains visible, add more scatter and tap it down with the sparkproof spade to aid absorption. Use the sparkproof broom to sweep up the absorbed waste, always sweeping away from yourself to avoid contact with hazardous material.

Person in full PPE using a red sparkproof spade to tap down and sweep up yellow absorbent material inside a contained spill area, with the Spill Tech Chemical Spill Kit bin visible.

# Step 5: Sweep up hazardous waste

Continue wearing your PPE — gloves, goggles, mask or respirator, high-visibility vest, and helmet. Carefully sweep up the absorbed chemical residue using the sparkproof broom and spade, taking care not to sweep any hazardous material onto yourself or others.

Person in full PPE using a sparkproof spade and broom to sweep up yellow chemical absorbent residue, with the Spill Tech Chemical Spill Kit bin, absorbent pads, and bags visible in an outdoor industrial setting.

# Step 6: Dispose of the waste

Place the swept-up chemical waste into the disposal bag supplied with your SpillTech kit.

Person in full PPE placing yellow chemical waste into a disposal bag, with the Spill Tech Chemical Spill Kit bin and absorbent materials visible.

Ensure the disposal bag is securely closed, then place it into a designated hazardous waste bin or skip labeled "HAZARDOUS WASTE." Do not use general waste bins for chemical residues.

Person in full PPE placing a sealed yellow waste bag into a red bin labeled "HAZARDOUS WASTE," positioned next to a green "GENERAL WASTE" bin.

Close-up of a person in PPE placing a yellow chemical waste bag into the red hazardous waste bin.

# Step 7: Apply final degreasing cleanup

Pour the water-based oil slip SpillTech Bio-2 biodegradable degreaser onto the affected area. Use the broom to work the degreaser into the surface, loosening and lifting any remaining chemical or oil residue. The area can then be washed or hosed down with water.

Close-up of a broom spreading white degreaser solution over the previously contaminated area, showing cleaning in progress.

Person in PPE pouring liquid degreaser from a white container onto the cleaned area, preparing for final washdown.

For small spills, you can instead place chemical absorbent pads directly onto the remaining liquid and allow them to fully absorb the spill before disposal.

Person in full PPE placing a yellow chemical absorbent pad onto a small spill area, with the Spill Tech kit and absorbent materials visible in the background.

Person in full PPE folding and pressing down a yellow absorbent pad onto the spill area.

# Special procedure: sulfuric or nitric acid spills

For acid spills, follow this specific sequence:

Add SpillTech acid neutralizer to the spill area to neutralize the pH level.

Use the scoop provided to evenly distribute the neutralizer over the acid spill.

Once neutralized, add the solidifier to the area.

The solidifier will transform the liquid into a solid or semi-solid mass, making it easier to contain and clean up.

Person in full PPE crouched, using a scoop to apply acid neutralizer from a labeled container to a spill surrounded by an absorbent boom, with a container labeled "ACID NEUTRALISER" visible.

Person in full PPE applying acid neutralizer to a contained spill area, preparing for solidifier application.

# Step 8: Complete the final cleanup

After applying the neutralizer and solidifier, use the sparkproof broom and spade to sweep up the solidified chemical residue. Collect all remaining powder and debris from the spill site. Maintain full PPE — gloves, mask, high-visibility vest, and helmet — throughout this process. The area should remain surrounded by absorbent booms to prevent spread.

Person in PPE using a broom and red spade to sweep up white neutralized chemical residue from a concrete surface, surrounded by absorbent booms, with an "Acid Neutraliser" bucket visible in the background.

# Step 9: Restock the kit

Restock your SpillTech Chemical Spill Kit immediately after use:

Inspect the SpillTech bin and replace all used items, including absorbent pads, booms, neutralizer, solidifier, disposal bags, and PPE.

Confirm that the broom, spade, and all essential tools are present and in good condition.

Store the kit in a clearly marked, easily accessible location.

Keep the kit ready for immediate deployment in case of future spills.

Person in full PPE standing next to a yellow Spill Tech Chemical Spill Kit bin with a broom and red spade, in an outdoor industrial area.

# Verification: confirm emergency contact information

Check that the SpillTech Chemical Spill Kit label is intact and legible. Ensure the 24-hour hazmat emergency response numbers are clearly displayed:

086 100 0366

083 253 6618

Confirm the website address (www.spilltech.co.za) is visible for further information or assistance.

Close-up of the Spill Tech Chemical Spill Kit bin showing emergency contact numbers and the website address.

In the event of a major spill, or if you are unsure how to proceed, call SpillTech's 24-hour emergency response line at 086 100 0366. Visit www.spilltech.co.za for additional resources, product information, or to arrange professional spill response services.

Spill Tech logo with the tagline "Responsible Environmental Management," the 24-hour emergency response number (086 100 0366), and the website address (www.spilltech.co.za) on a white background.

# Summary

By following these steps, you can safely and effectively use the SpillTech 240 Liter Chemical Spill Kit to contain and clean up small chemical spills. Always wear the correct PPE, act quickly to contain the spill, address the source of the leak before proceeding with cleanup, and dispose of hazardous waste using the correct containers and site-specific protocols. For acid spills, neutralize before solidifying and absorbing.

# What's next

Keep your SpillTech Chemical Spill Kit fully stocked and stored in a clearly marked, accessible location at all times. This ensures you are prepared to respond quickly and safely to any future chemical spill incident. For large or highly hazardous spills, or if you are ever in doubt about how to proceed, contact SpillTech immediately for professional assistance.