# How to Use an AED for Adults: Standard Operating Procedure

# Purpose

This document explains how to use an AED (Automated External Defibrillator) on an adult experiencing cardiac arrest. Early use of an AED can help restore a normal heartbeat, and knowing how to use an AED correctly and quickly is critical to improving a person's chance of survival. For each minute that CPR and defibrillation are delayed, a person's chance of survival decreases by 7 to 10 percent.

# Scope

This procedure applies to trained responders providing emergency care to any person older than 8 years of age and/or weighing more than 55 pounds (25 kilograms). It covers retrieving the AED, preparing the patient, attaching the pads, operating the device, and continuing care until professional help arrives.

# Required equipment

An AED unit with adult pads (typically stored in a red case labeled "AED Trainer" or similar)

Gloves

A pad connector cable (may already be connected to the AED)

# Procedure

## Step 1: Retrieve the AED

Retrieve the AED as soon as it is available. If you are the only trained responder on the scene, immediately turn on the AED and follow the voice prompts.

Two instructors, one holding a red AED case labeled "AED Trainer"

## Step 2: Prepare the scene and the patient

Remove all clothing covering the chest so the AED pads can be placed correctly. Wipe the chest dry if necessary to ensure the pads adhere properly.

## Step 3: Power on the AED

Open the AED case and power on the device by pressing the green power button.

Close-up of a gloved hand pressing the green power button on an AED device in a red case, with pads visible

## Step 4: Confirm you are using adult pads

Always use adult AED pads on anyone older than 8 years of age and/or weighing more than 55 pounds (25 kilograms). Do not use pediatric AED pads for adults, as the shock delivered will not be sufficient.

Instructor kneeling with AED pads, text: "Use adult AED pads on anyone older than 8 years of age and/or weighing more than 55 pounds (25 kilograms)"

## Step 5: Attach the AED pads

Attach the AED pads firmly to the person's bare chest:

Place one pad on the upper right side of the chest.

Place the other pad on the lower left side of the chest, a few inches below the left armpit.

Follow the diagrams and labeling printed on the pads for correct placement.

Gloved hands placing AED pads on a mannequin's chest, text: "UPPER RIGHT side of chest" and "LOWER LEFT side of chest"

Note: If the AED pad includes a feedback device, follow the manufacturer's instructions for use. Feedback devices may be built into the pads and provide real-time guidance on compression quality.

AED pads with an integrated feedback device and placement diagrams, text: "AED feedback device"

## Step 6: Connect the pad cable to the AED

Plug the pad connector cable into the AED if it is not already connected. Ensure the connector is securely attached; the AED may have a clearly marked port for this cable.

AED device in a red case with the pad connector cable plugged in, American Red Cross label visible

## Step 7: Prepare for rhythm analysis

Before the AED analyzes the heart's rhythm, make sure no one, including yourself, is touching the person. Say "Clear!" in a loud, commanding voice to alert others to stand clear.

AED device in a red case, ready for analysis, with no one touching the device or the patient

Safety note: Do not touch the person while the AED is analyzing. The device will announce or display "Analyzing" or a similar instruction. Ensure no one is touching the person during analysis and shock delivery.

## Step 8: Deliver a shock if advised

If the AED determines a shock is needed, it will announce "Shock advised" and the shock button will flash. Again, confirm no one is touching the person and loudly say "Clear!" Then press the flashing shock button to deliver the shock.

AED device with the pad connector cable attached and the flashing shock button illuminated, ready to deliver a shock

## Step 9: Resume CPR

Immediately resume CPR after the shock is delivered. Begin with chest compressions and follow the AED's prompts for timing and cycles.

AED device after the shock has been delivered, gloved hand visible, ready to resume CPR

## Step 10: Continue CPR cycles until one of the following occurs

You notice an obvious sign of life, such as breathing.

The AED prompts you to analyze the rhythm again.

Another trained responder is available to take over compressions.

Instructor in blue gloves and an American Red Cross shirt, text: "Continue giving CPR cycles until: another trained responder is available to take over compressions"

EMS personnel arrive and begin their care of the person.

Instructor in blue gloves and an American Red Cross shirt, text: "Continue giving CPR cycles until: EMS personnel arrive and begin their care"

You are alone and too tired to continue.

The scene becomes unsafe.

# Verification and summary

Throughout this procedure, always follow the AED's voice prompts and on-screen instructions. Ensure your safety and the safety of others by confirming that no one is touching the person during rhythm analysis and shock delivery. Continue CPR and AED-guided care until an obvious sign of life appears, another trained responder takes over, EMS personnel arrive, you become too exhausted to continue, or the scene becomes unsafe. This is how to use an AED for an adult in cardiac arrest, from retrieval through continued care.

Title screen: "Using an AED for Adults" with American Red Cross logo